[image: image1.jpg]









[image: image2.jpg]Noise Insulation Systems

PO Box 190 North Sydney NSW 2059
Tel: 9908 1136 Fax: 9953 2668

www.peaceandquiet.com.au




PQ Panels combine proven open cell acoustic foam with  high performance decorator fabrics. Easy to fit, attractive

Panels for any environment where reverb is a problem 

[image: image3.jpg]SR




[image: image4.jpg]S R S T T T B




[image: image5.jpg]AUSTRALIAN MADE-







Designer colours and a variety of textures available including a new range of special


Australian colours.





Suitable for wall mounting or ceiling mounting.





Custom fabrics and sizes available.





AudioPanel Specifications;





Standard size: 1200mm x 1200mm 	Panel thickness: 25mm


Offset from wall: 22mm			Total extent from wall: 47mm nom.


MSDS: Not hazardous according to Worksafe Australia Guidelines.


Contains no synthetic mineral fibres, no special safety equipment required for installation. 


Weight: Appx 5kg per panel.	NRC: 0.8125 (NATA laboratory tested to AS1045)








